I saw this error when someone had their event grid set to 0ms update rate

Scanning IO error 1810 look here

his behavior is already known and is often related to a faulty upgrade of twincat.
For example, on the affected systems, RM 4026.22 is installed, but the twincat.standard.xae/xar workload is still at an older version.

check the installed workloads in those system.

if there is something missing simply try to install the workload

via CLI:

tcpkg install twincat.standard.xae
tcpkg install twincat.standard.xar

If there is nothing missing try a repair:

Tcpkg repair TwinCAT.Standard.XAE --include-dependencies

TcHmi Installation issue with latest TwinCAT versions

Microsoft Visual C++ 2010 Runtime also should fix this